REQUEST FOR QUOTE (RFQ)

Kitchen Wallpaper Restoration

Site:

7458 Victory Ln, Unit 10104, Delray Beach, FL 33446

Model: Gleneagles IV - Bobby Jones

Client: Richard Deutsch

Project Objective:

Remove existing wallcovering and install new vertical-stripe wallpaper with clean, consistent alignment across kitchen + dining surfaces.

Required Scope:

1. Wallpaper removal (older substrate; use controlled removal approach)

2. Wall prep and Level 5 skim coat where needed

3. Primer/sealer application (Gardz or RX-35 equivalent)

4. Final wallpaper installation

Mandatory Technical Requirements:

- Reverse hanging method for vertical pattern consistency

- Zero-VOC adhesive (PRO-880 equivalent)

- No harsh chemical stripping

- Protect resident space during all phases

Planning Metrics (for quoting consistency):

- Gross prep area: ~600 sq ft

- Net target coverage: ~420 sq ft (kitchen + dining)

Material Options:

- Momentum Lithic Chiffon (54")

- York Line Stripe, Putty (27")

Quote Format Requested (line item):

1. Removal labor

2. Prep/skim labor

3. Primer/materials

4. Installation labor

5. Total price

6. Warranty (labor/workmanship)

7. Earliest start date + duration

8. Assumptions/exclusions

Benchmark Guidance:

- Residential baseline: $1,250

- Complex/heavier handling scenarios: price separately with rationale

Please confirm in writing:

- Level 5 prep capability

- Reverse hang execution

- Adhesive system to be used

- Timeline from start to completion

Contractors:

- OnCall Wallpapering (Gerard): 646-729-6875

- Wallpaper Waves LLC (Maria & Juan): 561-969-8025

- Diamond Finish Wallpaper (Boca Raton)