Subject: RFQ - Kitchen Wallpaper Restoration (7458 Victory Ln #10104, Delray Beach)

Hello [Contractor Name],

Please provide a written quote for wallpaper restoration at:

7458 Victory Ln, Unit 10104, Delray Beach, FL 33446

(Model: Gleneagles IV Bobby Jones)

Scope:

- Remove existing wallpaper

- Surface prep + Level 5 skim coat where needed

- Prime/seal walls

- Install new wallpaper (vertical-stripe finish)

Required methods:

- Reverse hanging

- Zero-VOC adhesive

- No harsh chemical stripping

Planning areas for bid consistency:

- Gross prep area: ~600 sq ft

- Net target coverage: ~420 sq ft

Please break quote into:

1) Removal labor

2) Prep/skim labor

3) Primer/materials

4) Installation labor

5) Total

6) Warranty

7) Start date + duration

Please confirm these in your reply:

- Level 5 prep capability

- Reverse hang method

- Adhesive system

- Completion timeline

Thank you,

[Your Name]

[Phone]

[Email]